Corporation of the City of Kawartha Lakes
Procurement Division
P.O. Box 9000, 26 Francis Street,
Lindsay, ON, K9V 5R8
Tel: 705-324-9411
Toll free at 1-888-822-2225

### Addendum #6
 2026-034-CQ - Renovations to the Fenelon Falls Fire Hall
Closing Date: Thursday, April 23, 2026 11:00 AM

This addendum forms part of the procurement document and is to be read, interpreted and coordinated with all other parts. The following information supersedes the information contained in the original procurement document.

Questions and Answers

### Question 1:

Specification Section 8100.2.1 states that hollow metal frames are to fabricated of 16 ga. stainless steel. Please confirm that this is correct.

### Answer 1:

Yes.

### Question 2:

Please provide a spec and mounting details of the stainless-steel counter shown on 1/A4.

### Answer 2:

Stainless steel counter will be provided by the owner complete with sink to be installed by this contract. Delete supply of sink S-1 as called for on the mechanical drawings.

### Question 3:

The stone veneer is dimensioned like a full bed stone on a foundation ledge with an air space but the description and specified product is an adhered veneer. Please clarify.

### Answer 3:

Delete stone facing masonry ROYAL STONES LIMESTONE ASPEN OR EQUAL as per spec section 04200 unit masonry and replace with Permacon Lafitt Alto Stone Range Chambord Grey with Rockland Black inserts or equal.

(3.5” thickness) Architectural drawing details to hold.

### Question 4:

3. We are calculating a net surplus of excavated materials and Addendum 2 indicates there’s been no soil testing done. The building being demolished has been a garage for decades with a dirt floor for part of its life. Is the City providing a dump location and will there be a line item or contingency for dealing with contaminated soils?

### Answer 4:

Funds from the cash allowance would be allocated to manage any soil abatement. If additional funds are required, a change order can be submitted.

If you have any questions, please submit them through Bids & Tenders.

End of Addendum #6