ADDENDUM NO. 3

KOC Dormitory Project

Bid Number: KOC07102023
Date Issued: October 8, 2026

This Addendum forms part of the Contract Documents and shall be read, interpreted, and coordinated with all other Contract Documents. Bidders shall acknowledge receipt of this Addendum in their submission.

Where the provisions of this Addendum conflict with previously issued addenda, the provisions of this Addendum shall govern.

Responses provided in this Addendum apply to all bidders.

MECHANICAL

Item 1 - Revisions to Mechanical Drawings

Refer to revised Mechanical Drawings M2.1, M2.2, M2.3 and M2.4, issued with this Addendum.

Clarification No. 1 - Boiler

Refer to the revised mechanical drawings.

The boiler shall be a propane-fired boiler.

The Contractor shall include all propane piping, venting, controls, connections, and associated work required for a complete and operational propane boiler installation as indicated on the revised mechanical drawings.

Clarification No. 2 - FCU-1 Temperature Control

Refer to the revised mechanical drawings.

A motorized damper shall be provided to control temperature within the lobby area as indicated on the revised drawings.

Clarification No. 3 - FCU-2 Temperature Control

Refer to the revised mechanical drawings.

A thermostat shall be provided in each bedroom. Motorized dampers shall be provided to control airflow serving each bedroom as indicated on the revised drawings.

Clarification No. 4 - Vestibule Unit Heater

The vestibule unit heater (FFH) is included in the project scope.

Electrical requirements for the vestibule unit heater are identified on the revised electrical drawings.

Clarification No. 5 - Exhaust Fan EF-4

Exhaust Fan EF-4 has been deleted from the project scope.

Refer to the revised mechanical drawings.

Clarification No. 6 - HC Washroom Exhaust

Exhaust Fan EF-1 shall not be provided in Accessible Washroom 12.

Ventilation for this space shall be as shown on the revised mechanical drawings.

Clarification No. 7 - ERV Ductwork

Refer to the revised mechanical drawings for updated ERV supply and exhaust duct layouts, duct sizing, grilles, and associated distribution requirements.

ELECTRICAL

Item 2 - Revisions to Electrical Drawings

Refer to revised Electrical Drawings E001 LEGEND AND NOTES, E002 SPECIFICATIONS, E003 SCHEDULES, E201 LIGHTING LAYOUT and E301 POWER LAYOUT, issued with this Addendum.

The revised electrical drawings include the following changes:

- Corrected condensing unit and fan coil unit electrical connections and requirements.

- Revised mechanical equipment electrical requirements, including boiler-related connections.

- Addition of electrical requirements for the vestibule unit heater (FFH).

- Miscellaneous power revisions as identified on the revised drawings.

Revised Drawings Issued with this Addendum

The attached drawings supersede all previously issued versions of the respective drawings.

Mechanical:

M2.1 HVAC Layout Plan

M2.2 HVAC Piping Plan

M2.3 Legends and Schedule

M2.4 Standard Details

Electrical:

E001 Legend and Notes

E002 Specifications

E003 Schedules

E201 Lighting Layout

E301 Power Layout

Bidders shall review all revised drawings and incorporate the requirements of this Addendum into their Bid Price.

END OF ADDENDUM NO. 3

All other terms, conditions, specifications, drawings, and requirements of the Contract Documents remain unchanged.

END OF DOCUMENT